## Slide 1: EXFO Summary Macro Presentation
Summer 2019
Amanda Page
Engineering Co-Op

## Slide 2: Limitations
Cannot calculate cutback adjustments for Methods E, F or G
Only one cutback allowed per set of measurements
  If two taken on accident, it will only apply the first cutback
Only works with folders of raw test data
Only pick one location to be used for RL in summary tab/for cutback
Only one set of specs allowed per set of data
  If need more, different folders or use update summary button

## Slide 3: About the Macro
This macro is for any single-mode raw data taken from the EXFO
It will:
  Rearrange raw data
  Apply cutbacks
  Show IL and RL changes
  Summarize the data
  Highlight specs that fail in red
  Create summary tables
It can handle:
  Any kind of test from the EXFO (besides environmental)
  Any number of fibers
  Any number of wavelengths
  Any amount of measurements

## Slide 4: Home Page

## Slide 5: What To Know Before Uploading Data
Return Loss Location
(A,B, or C)
Method Used
(B-H)
&

## Slide 6: Uploading your Test Data

## Slide 7: Return Loss Location and Cutbacks

## Slide 8: Raw Data Tab

## Slide 9: Summary Tab

## Slide 10: Summary Tables

## Slide 11: Update Summary Button

## Slide 12: Importance of Sample Names
Cutback measurements look for sample names to apply!

## Slide 13: Importance of Test Descriptions
Keywords:
Ref Check
Cut
Initial

## Slide 14
I will be coming around this week to install this macro on laptops and train everyone in small groups so it’s more individualized for questions!

## Slide 15
Amanda Page
amanda.page@commscope.com
Thank you!